## QA
CSCODE | DESC | MANUFAC | MDLNUM | SERNUM | DATECAL | NEXTCAL | FREQ | TOLERANCE | LOCATION | REMARKS | OWNER | CALHOUR | CALBY | STATUS | CONSIGN | ASSETNUM | GRR_REQ | GRR_DUE | GRR | GRR_DATE | GRR_PER | GRR_CHAR | IMTE_PER | REPNUM | REC_UPDATE | DATECREAT
15SPT01 | STUD PULL TESTER | SEBASTIAN | SEB III | 091040 | 2001-01-31 | 2001-08-29 | 210 | 3% | QA FOL | IN-ACTIVE | QA/MCAN | 3 | 2028 | *** | TEAM | 01010 | YES | 2001-08-29 | 1.17 | 2001-01-31 | J.AVENIDO | STUD PULL STREN | In-active due to no calibration use |  |  | 2006-11-29
14SFG01 | SYNTHESIZER FUNCTION GENERATOR | HP | 3325A | 2512A19997 | 1999-08-10 | 1999-08-10 | 0 |  | CAL LAB | SERVICE | STANDARD | 0 | HP | *** | TEAM | 01183 | N/A |  | 0 |  |  |  | Service only: Output is verified by Oscilloscope and 3456A Voltmeter |  | 2006-02-23
15CC01 | CONDUCTIVITY CONT'L | HANNA INS. | WM8930 | 59509 | 1998-01-15 | 1998-07-14 | 180 |  | DIE PREP | IN-ACTIVE | LOGISTICS |  |  | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance
15DG05 | DEPTH GAUGE | BATY | C16F/BGP2 | 6064 |  |  | 0 |  | DIE BANK | SERVICE | LOGISTICS |  |  | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance
15SP02 | PIND STU PULSER | DUNEGAN ENDEVCO | XP-STU | 0002 | 1997-01-06 | 1998-01-05 | 365 | 20% | MCAN | IN-ACTIVE | QA/MCAN |  |  | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance
15PP01 | PROFILE PROJECTOR | NIKON | 6C-2 | 55114 | 2002-12-11 | 2003-06-09 | 180 |  | 4TH OPT | DEFECTIVE | QA/PDIP | 2 | 6289 | **A | TEAM |  | YES | 2003-06-09 | 40.38 | 2003-04-22 | R.SAVA | COPLANARITY | within tolerance
15ITF01 | INSULATING TEST FIXTURE | NSTU | 70571000 | 0001 | 1999-12-19 | 2000-12-18 | 365 |  | IQC | SERVICE | CALIBRATION | 5 | 5328 | *** | TEAM |  | N/A | 2000-12-18 | 0 | 1999-12-19 |  |  | Service only as of 19 Dec 1999 |  | 2004-11-13
14OPC01 | PRECISION CALIBRATOR | OMEGA ENG'G | CL-505A | 86690567 | 2004-09-09 | 2005-09-09 | 365 |  | CAL LAB | DEFECTIVE | STANDARD | 6 | 3803 | AAA | TEAM | 01156 | N/A | 2002-09-09 | 0 | 2001-09-08 |  |  | input/ouput error display;defective/malfunctioning microprocessor board | 2004-99.57281 | 2005-09-15
14STU01 | PIND STU TRANSDUCER | DUNEGAN | S140BM | A770 | 2001-11-05 | 2002-11-05 | 365 | -77.5DB+3 | CAL LAB | IN-ACTIVE | STANDARD | 0 | PTI | *** | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance,Received on 16 November 2001, Report# 7204 |  | 2004-08-16
14VGK01 | ELECTRICAL VACUUM GAUGE | H.RAYDIST | VT-4 | 58203 | 2000-03-29 | 2001-03-03 | 330 | 3%FSD | CAL LAB | IN-ACTIVE | STANDARD | 0 | TTECH | *** | TEAM | 01179 | N/A |  | 0 |  |  |  | Status B, Work Order No. I0003410-0 |  | 2004-08-27
14SW13 | 1MG-100G STD WEIGHTS | OHAUS | 1MG-100G | MC417325 | 1999-08-18 | 2000-08-17 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | ITDI | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-16
14DR02 | DECADE RESISTOR | GENRAD | 1433-G | 33517 | 1997-12-17 | 1999-12-17 | 730 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | PSB | *** | TEAM | 01145 | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-16
14PPG02 | PROG PULSE GENERATOR | HP | 8160A | 2547A01513 | 2000-02-02 | 2000-02-02 | 0 | 1% | CAL LAB | SERVICE | STANDARD | 8 | 3803 | *** | TEAM | 01134 | N/A |  | 0 |  |  |  | Service Only: Output is verified by Oscilloscope
15DTH02 | DIGITAL THERMOMETER | ANRITSU | HL610 | V16379 | 2001-01-08 | 2001-07-07 | 180 | 5°C | QAMCAN/EOL | IN-ACTIVE | QA/MCAN | 2 | 2028 | *** | TEAM |  | N/A | 2001-07-07 | 3.17 | 2001-01-09 | CRIS VALEROS | TEMPERATURE | in-active as of 06 July 2001
14SW01 | HOOK WEIGHT SET | OHAUS | N/A | 46206-01 | 1997-04-04 | 1999-04-04 | 730 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | ITDI | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-16
14SS01 | STATIC SENSOR | 3M | 709 | SS891 | 1998-02-12 | 1999-02-12 | 365 |  | PDIP | IN-ACTIVE | STANDARD | 0 | 3M | *** | TEAM | 01004 | N/A |  | 0 |  |  |  | Please enter current performance
14SS04 | STATIC SENSOR | 3M | 709 | SS9656 | 1998-02-12 | 2000-06-06 | 365 |  | QA/IQC | IN-ACTIVE | QA/IQC | 0 | 3M | *** | TEAM | 01005 | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-16
15SO12 | DIGITIZING STORAGE OSCILLOCOPE | TEKTRONIX | 468 | 708026 | 1995-05-25 | 1996-05-24 | 365 |  | CAL LAB | IN-ACTIVE | CALIBRATION |  |  | *** | TEAM | 01153 | N/A |  | 0 |  |  |  | Please enter current performance
12ACC01 | AC CALIBRATOR | FLUKE | 52004 | 3735016 | 1996-03-26 | 1998-03-26 | 730 | 200PPM | CAL LAB | IN-ACTIVE | STANDARD | 0 |  | *** | TEAM | 01137 | N/A |  | 0 |  |  |  | Please enter current performance
11ACR01 | AC REFERENCE STANDARD | FLUKE | 510A | 3770002 | 1996-06-06 | 1999-02-03 | 730 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | SISIR | *** | TEAM | 01137 | N/A |  | 0 |  |  |  | Please enter current performance |  |  | 2006-11-29
11DCR01 | DC REFERENCE STANDARD | FLUKE | 732A | 3705024 | 1998-03-27 | 2000-03-26 | 730 | 0.5PPM | CAL LAB | IN-ACTIVE | STANDARD | 0 |  | *** | TEAM | 01131 | N/A |  | 0 |  |  |  | Please enter current performance
13HIV01 | HIGH IMPEDANCE VOLTMETER | FLUKE | 845AB | 37300013 | 1998-10-02 | 1999-10-02 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 3 | TPC | *** | TEAM | 01139 | N/A |  | 0 |  |  |  | Please enter current performance
12PPA01 | PRECISION POWER AMPLIFIER | FLUKE | 5215A | 3690013 | 1996-03-26 | 1998-03-26 | 730 | 200PPM | CAL LAB | IN-ACTIVE | STANDARD | 0 |  | *** | TEAM | 01138 | N/A |  | 0 |  |  |  | Please enter current performance
14CC01 | PIND CALIBRATION CAPACITOR | PIND TESTER INC | 4501-CALCA | D1049 | 2001-11-26 | 2003-11-26 | 730 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | PTI | *** | TEAM |  | N/A |  | 0 |  |  |  | Report# 7241, Within tolerance, Received : 03 January 2002 |  | 2005-05-25
14CS02 | CAPACITOR STANDARD | GENRAD | 1417 | 437 | 1998-05-06 | 1999-05-06 | 365 | 1% | CAL LAB | IN-ACTIVE | STANDARD | 0 | PTI | *** | TEAM | 01186 | N/A |  | 0 |  |  |  | Please enter current performance
13LC01 | LEAD COMPENSATOR | FLUKE | 721A | 3645005 | 1993-09-14 | 1994-09-14 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 |  | *** | TEAM | 01152 | N/A |  | 0 |  |  |  | Please enter current performance
13RD01 | REFERENCE DIVIDER | FLUKE | 752A | 3703015 | 1993-09-14 | 1994-09-14 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 |  | *** | TEAM | 01136 | N/A |  | 0 |  |  |  | Please enter current performance
14SI02 | STANDARD 100 MH INDUCTOR | GENRAD | 1482-L | 20415 | 1996-11-25 | 1996-11-25 | 0 | ±1% | CAL LAB | IN-ACTIVE | STANDARD | 0 | GENRA | *** | TEAM | 01160 | N/A |  | 0 |  |  |  | Please enter current performance |  | 2008-11-20
14DC01 | PRECISION DECADE CAPACITOR | GENRAD | 1413 | 1309 | 1998-03-05 | 2003-03-04 | 1825 | .05%+0.5PF | CAL LAB | IN-ACTIVE | STANDARD | 0 | GENRA | *** | TEAM | 01158 | N/A |  | 0 |  |  |  | Please enter current performance
14PA01 | POCKET ANEMOMETER | KURZ INST | 480 | P-2002 | 1998-05-08 | 1999-11-04 | 545 |  | AUDIT | IN-ACTIVE | STANDARD | 0 | KURZ | *** | TEAM | 01166 | N/A |  | 0 |  |  |  | Please enter current performance
14PGK03 | COMPOUND TEST GAUGE | MARSH | 480363-1 | 210C-133 | 1996-08-15 | 1997-08-15 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | SISIR | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-16
14PGK02 | COMPOUND TEST GAUGE | MARSH | BOURDON | 6957-12 | 2000-05-25 | 2001-05-25 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | 3803 | *** | TEAM | 01178 | N/A |  | 0 |  |  |  | In-active, for calibration |  | 2004-08-16
14SG01 | SIGNAL GENERATOR | HP | 8654A | 2132A03749 | 1996-06-10 | 1998-06-10 | 730 | 3% | CAL LAB | IN-ACTIVE | STANDARD | 0 | HP | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance
14SI01 | STANDARD 100 MH INDUCTOR | GEN. RADIO | 1482-L | 104142005 | 1996-01-15 | 1998-01-14 | 730 | 0.1% | CAL LAB | IN-ACTIVE | STANDARD | 0 |  | *** | TEAM | 01159 | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-18
14SIM01 | PIND S140 SIMULATOR | PIND TESTER INC | 4501-S140 | E1085 | 2001-11-26 | 2003-11-26 | 730 | -59.5DB | CAL LAB | IN-ACTIVE | STANDARD | 0 | PTI | *** | TEAM |  | N/A | 2001-08-22 | 0 | 1999-08-23 |  |  | Report# 7241, Within tolerance, Received : 03 January 2002 |  | 2004-08-16
14SP01 | SPECTRA PHOTOMETER | PHOTO RES. | FC-200 | 011-737 | 1995-06-16 | 1997-06-15 | 730 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 |  | *** | TEAM | 01175 | N/A |  | 0 |  |  |  | Please enter current performance
14SR01 | STANDARD RESISTOR | VICO | M0X1125-2 | 01 | 1998-01-02 | 1999-01-02 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 |  | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance
14SS02 | STATIC SENSOR | 3M | 709 | 9763S | 1997-08-05 | 1998-08-05 | 365 |  | CAL LAB | IN-ACTIVE | QA/MCAN | 0 | 3M | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-16
14SS03 | STATIC SENSOR | 3M | 709 | 964S | 2000-08-20 | 2001-08-20 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | 3M | *AA | TEAM | 01003 | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-16
16RLC01 | LCR DIGIBRIDGE | GENRAD | 1658 | 1873 | 2002-08-08 | 2003-02-04 | 180 | 1% | CAL LAB | IN-ACTIVE | QA/IQC | 3 | 3803 | *** | TEAM | 00552 | N/A |  | 0 | 2001-01-10 |  |  | No particular use as of date activated (as per request of A.Malabuyoc)
15PTM01 | PIND OSCILLOSCOPE MONITOR | LEADER | LBO-51MA | 1072109 |  |  | 0 |  | CAL LAB | IN-ACTIVE | QA/MCAN | 0 |  | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance
15AWS01 | ANALOG POUND WEIGHTS | SUNBEAM | 39360 | 960712 | 1999-06-02 | 1999-11-29 | 180 | °C | STORES | MISSING | LOGISTICS | 4 | 5198 | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance
14SW04 | 10-1000G STD WEIGHTS | OHAUS | 10-1000G | 0091 | 1999-08-18 | 2004-01-17 | 365 |  | CAL LAB | IN-ACTIVE | STANDARD | 0 | ITDI | *** | TEAM |  | N/A |  | 0 |  |  |  | Please enter current performance |  | 2004-08-16
14SS06 | STATIC SENSOR | 3M | 709 | SS8891 | 1998-02-12 | 1999-02-12 | 365 |  | IQC LAB | IN-ACTIVE | STANDARD | 0 | 3M | *** | TEAM |  | N/A |  | 0 | [5 empty] | 2004-08-16
15DG03 | DIAL GAUGE | MITUTOYO | 513-206 | 340024 | 2001-07-06 | 2002-01-04 | 180 |  | ASPM | IN-ACTIVE | CALIBRATION | 2 | 3803 | *** | TEAM |  | N/A | 2002-01-04 | 0 | 2001-07-06 |  |  | In-active as of 08 Jan. 2002 due to no production
Q3TM001 | GRALAB TIMER | DIMCO GRAY | 506 | 60588040018 | 2015-08-18 | 2016-08-17 | 365 | ±5% | QA/WETLAB | ACTIVE | QA/MCAN | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2015-188.45969 | 2015-08-20 | 1998-04-24
Q2DST001 | DIE SHEAR TESTER | ANZA TECH | 520D | 909 | 2015-10-15 | 2016-08-15 | 304 | ±50 GRAMS | QA STATION | ACTIVE | QA/MCAN | 4 | 8553 | AAB | TEAM | 01012 | YES | 2016-08-15 | 0.73 | 2015-10-16 | A.GUZMAN | TENSION STRENGT | Within tolerance | 2015-1510.40209 | 2015-10-16 | 2000-01-31
Q2FOG001 | FORCE GAUGE | CHATILLON | DFIS10 | DFI037154 | 2012-10-26 | 2013-10-25 | 365 | ±0.010 KG | PDIP FOL | FOR REPAIR | CALIBRATION | 3 | 8072 | AAA | TEAM |  | YES | 2013-10-25 | 3.42 | 2012-10-26 | R.MACASILHIG | STD WEIGHTS | Within tolerance | 2012-2610.54218 | 2013-10-31 | 2001-09-24
Q1VG001 | ELECTRICAL VACUUM GAUGE | H.RAYDIST | VT-4 | 38302 | 2011-03-22 | 2012-03-22 | 365 | ±3%FSD | CAL LAB | IN-ACTIVE | STANDARD | 0 | CAL,I | AAA | TEAM | 00425 | N/A | 2003-02-01 | 0 | 2002-02-01 |  |  | Received: 08 April 2011 | 2011-223.33243 | 2013-07-03
Q2CP001 | DIGITAL CALIPER | MITUTOYO | CD-6"CS | 03066402 | 2011-09-16 | 2012-09-14 | 365 | ±0.01 MM | IQC AREA | IN-ACTIVE | QA/IQC | 2 | 3803 | AAA | TEAM |  | YES | 2012-09-14 | 2.1 | 2011-09-16 | G.PANGANIBAN | DIMENSIONAL | Within Tolerance | 2011-169.52326 | 2012-09-18
Q2BST001 | ROYCE BONDSHEAR TESTER MODULE | ROYCE INST | ASTM-5K | 9512221 | 2016-02-01 | 2016-10-31 | 273 | ±15 GRAMS | FOL/QA | ACTIVE | QA/PDIP | 3 | 8553 | AAB | TEAM | 01008 | YES | 2016-10-31 | 0.16 | 2016-02-01 | KHALI BASINANG | BOND SHEAR | Within tolerance | 2016-12.56346 | 2016-02-01 | 2000-10-25
Q1PSM001 | PSYCHRON METER | BELFORT | 566-2 | 87-4004 | 2016-01-08 | 2017-01-08 | 365 | ±0.3°F | FACILITIES | ACTIVE | CALIBRATION | 0 | MIRDC | AAA | TEAM | 01170 | N/A |  | 0 |  |  |  | Referr to Certificate No.2015-1-1282A-45. | 2016-81.59828 | 2016-01-21
Q2TM001 | GRALAB TIMER | DIMCO-GRAY | 600 | 0026150 | 2015-11-04 | 2016-11-03 | 365 | ±0.25% | CAL LAB | ACTIVE | CALIBRATION | 2 | 8553 | AAA | TEAM | 01162 | N/A |  | 0 |  |  |  | Within tolerance | 2015-411.55238 | 2015-11-09 | 1984-05-31
Q2XRF001 | X-RAY FLUORESCENCE | FISCHER | XDVM | 06845423 | 2010-04-27 | 2011-01-25 | 273 | ±5% | IQC AREA | SCRAP | QA/IQC | 5 | 3803 | AAA | TEAM | 0116 | YES | 2011-01-25 | 7.21 | 2010-04-27 | G.IBBARIENTOS | COATING THICKNE | Within tolerance | 2010-274.53671 | 2011-01-25 | 2007-07-25
Q1RS001 | RESISTANCE SIMULATOR | CULLIGAN | QM-1 | 0099 | 2015-10-02 | 2016-09-30 | 365 | ±1% | CAL LAB | ACTIVE | STANDARD | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | 10M [BLK] Simulator for Thorton resistivity meter; Within tolerance | 2015-210.44877 | 2015-10-02 | 2003-12-02
Q2HRM001 | HIGH RESISTANCE METER | HEWLETT PACKARD | 4329A | 2111J05255 | 2015-08-21 | 2016-08-19 | 365 | ±3% | IQC | ACTIVE | QA/IQC | 4 | 8553 | AAA | TEAM | 01127 | N/A |  | 0 |  |  |  | Within Tolerance | 2015-218.42891 | 2015-08-21 | 1991-10-29
Q2CP002 | DIGITAL CALIPER | MITUTOYO | CD-6"CS | 03043423 | 2013-03-13 | 2014-03-13 | 365 | ±0.001" | QA/MOLD | SCRAP | QA/PDIP | 2 | 3803 | AAA |  |  | N/A | 2013-03-12 | 1.84 | 2012-03-12 | E.MANALANSAN | DIMENSIONAL | Within tolerance | 2013-133.31937 | 2014-02-28 | 2006-11-20
Q2TG001 | THICKNESS GAUGE | MITUTUYO | 2046-08 | 7301 | 2007-01-04 | 2007-08-03 | 212 | .01MM | DIE BANK | IN-ACTIVE | QA/IQC | 2 | 6289 | AAA | TEAM |  | N/A | 2002-11-22 | 0 | 2002-05-27 |  |  | within tolerance/ in-active as of 04 Aug 2006 | 2007-41.67105 | 2007-08-06
Q2MM001 | MICROMETER | MITUTOYO | M830-25-1" | 159-101 | 2015-11-25 | 2016-11-25 | 365 | ±0.001" | CAL | ACTIVE | CALIBRATION | 2 | 8553 | AAA |  |  | N/A | 2003-11-26 | 0 | 2003-11-26 |  |  | within tolerance | 2015-2511.63202 | 2015-11-25 | 2003-11-26
Q1DR001 | DECADE RESISTOR | GENRAD | 1433-G | 31098 | 2015-10-31 | 2016-10-31 | 365 | 0.01%+.2 | CAL LAB | ACTIVE | STANDARD | 8 | 8553 | AAA | TEAM | 01144 | N/A | 2001-12-12 | 0 | 2001-06-15 |  |  | Applicable for Standard resistance | 2015-3110.51971 | 2015-11-04 | 1983-07-05
Q2PIS001 | PIND TEST CONTROLLER | PTI | 4501 | A005484 | 2015-11-11 | 2016-05-11 | 182 | TCS-5008 | CAL LAB | ACTIVE | QA/MCAN | 16 | 8553 | AAA | TEAM | 00449 | N/A |  | 0 |  |  |  | System matched with Q2PPS004 with Serial No. C3926 and M230 shaker | 2015-1111.67925 | 2015-11-12 | 1999-01-29
Q2PTM001 | PIND OSCILLOSCOPE MONITOR | LEADER | LBO-51MA | 0060091 | 2009-09-25 | 2010-04-25 | 182 |  | Q2PIS001 | FOR REPAIR | QA/MCAN | 0 | 3803 | AAA | TEAM |  | N/A |  | 0 |  |  |  | No adjustment of Y-axis is required; Refer to Q2PIS001 record | 2009-259.39902 | 2012-10-25
Q1VG002 | VACUUM GAUGE | CPI | 0-760MMHG | 0428 | 2004-12-08 | 2006-02-08 | 365 | ± °C | CAL LAB | DEFECTIVE | STANDARD | 0 | ITDI | NEW |  |  | N/A | 2005-01-07 | 0 | 2005-01-07 |  |  | defective | 2004-812.37101 | 2006-03-08
Q2WPT001 | ROYCE WIREPULL TESTER MODULE | ROYCE INST | RPTM-2K | 9307122 | 2015-10-19 | 2016-06-17 | 242 | ±4 GRAMS | ROYCE-02 | IN-ACTIVE | QA/PDIP | 3 | 8553 | AAB | TEAM | 01015 | YES | 2016-06-17 | 0.71 | 2015-10-19 | REMZHEL MATIAS | WIRE PULL | Within tolerance | 2015-1910.44040 | 2015-10-19 | 1994-07-13
Q2BST002 | ROYCE BONDSHEAR TESTER MODULE | ROYCE INST. | ASTM-5K | 9501252 | 2013-07-30 | 2014-03-28 | 242 | ±15 GRAMS | FOL/R-002 | IN-ACTIVE | QA/PDIP | 3 | 3803 | AAC | TEAM | 01014 | YES | 2014-03-28 | 0.09 | 2013-07-30 | E. MANALANSAN | BOND SHEAR TEST | Repair transducer alignment; Adjusted AD System and Internal Reference | 2013-307.56728 | 2015-02-17 | 2002-09-12
Q2MUM002 | DIGITAL MULTIMETER | TECHMASTER | DM-8600 | 5009966 | 2015-04-06 | 2016-04-05 | 365 | OEM | QA/FA | ACTIVE | QA/FA | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-64.58962 | 2015-04-06 | 1996-06-13
Q2TCC001 | THERMOCOUPLE CALIBRATOR | ALTEK | 322-1 | 154618 | 2015-06-25 | 2016-06-24 | 365 | ±2.5°C | CAL LAB | ACTIVE | CALIBRATION | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance/ limited to temperature only | 2015-256.64611 | 2015-06-25 | 1995-01-28
Q2CM001 | CONDUCTIVITY METER | JAMES G. | MARK IV | C2949 | 2007-04-21 | 2007-12-19 | 242 | 1% | IQC | IN-ACTIVE | QA/IQC | 3 | 6289 | AAA | TEAM |  | N/A | 2001-12-10 | 0 | 2001-06-13 |  |  | Within tolerance/ in-active | 2007-214.55634 | 2007-04-27
Q3PFT001 | PRE-BURN IN FUNCTIONAL TESTER | N/A | N/A | 37272-5416 | 2006-08-19 | 2007-03-19 | 212 |  | QA/EOL | SERVICE | QA/MCAN | 2 | 6289 | AAA | TEAM |  | N/A |  | 0 |  |  |  | requested for service only | 2006-198.36509 | 2006-08-30
Q2CP003 | CALIPER | MITUTOYO | CD-6"CS | 03118771 | 2014-02-20 | 2015-02-20 | 365 | ±0.001" | QA-MCAN | IN-ACTIVE | QA/IQC | 2 | 3803 | AAA |  |  | N/A | 2014-08-22 | 15.47 | 2014-02-21 | HAZEL CRUZADO | DIMENSION | Within tolerance; Failed with GRR | 2014-202.33890 | 2014-05-09 | 2004-01-21
Q2TMM001 | DIGITAL THERMOMETER | OMEGA ENG. | HH-602 | 111216 | 2007-01-09 | 2007-08-09 | 212 | ±2°C | QA/TINDIP | DEFECTIVE | QA/PDIP | 3 | 6289 | AAA |  |  | YES | 2007-08-09 | 9.93 | 2007-01-13 | GINA SAVA | SOLDER POT TEMP | DEFECTIVE POWER/ for scrap as of 29 aug 2007 | 2007-91.35048 | 2007-09-01
Q3SW001 | STOP WATCH | CASIO | HS-10W | 4Y112A | 2015-07-21 | 2016-07-20 | 365 | ±1% READNG | QA/TINDIP | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM |  | N/A | 2002-02-26 | 0 | 2001-02-26 |  |  | Within tolerance | 2015-217.47911 | 2015-07-21 | 1993-03-01
Q2STP001 | PIND STU PULSER | PIND TESTER INC | XP-STU | A-009349 | 2015-10-28 | 2016-10-27 | 365 | ±20% | CAL LAB | ACTIVE | CALIBRATION | 1 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-2810.48572 | 2015-10-28 | 1991-08-13
Q2WT001 | LEAD FATIGUE WEIGHTS | TPG | 30Z | 01003 | 2008-01-09 | 2008-10-07 | 272 | 2% | IQC | IN-ACTIVE | QA/IQC | 1 | 6289 | AAA | TEAM |  | N/A |  | 0 |  |  |  | For IN-ACTIVE | 2008-91.53446 | 2008-10-16
Q2WT002 | LEAD FATIGUE WEIGHTS | HYBRID | 802 | 0001A | 2015-03-06 | 2016-03-04 | 365 | ±2% | IQC | ACTIVE | QA/IQC | 1 | 8553 | AAA | TEAM |  | N/A |  | 0 | 2000-01-14 |  |  | within tolerance | 2015-63.60794 | 2015-03-07 | 2005-03-02
Q2WT003 | LEAD FATIGUE WEIGHTS | TPC | 5LBS | 02005 | 2008-01-09 | 2008-10-07 | 272 | 2% | IQC | IN-ACTIVE | QA/IQC | 1 | 6289 | AAA | TEAM |  | N/A |  | 0 |  |  |  | FOR IN-ACTIVE | 2008-91.53511 | 2008-10-16
Q2WT004 | LEAD FATIGUE WEIGHTS | HMPC | 802 | 009 | 2015-03-06 | 2016-03-04 | 365 | ±2% | IQC | ACTIVE | QA/IQC | 1 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2015-63.60811 | 2015-03-07 | 2005-03-02
Q2LF001 | LEAD FATIGUE TESTER | HYBRID MACH COR | M1500B | 3001 | 2015-03-06 | 2016-03-04 | 365 | ±1 S | IQC | ACTIVE | QA/IQC | 3 | 8553 | AAA | TEAM |  | N/A | 2003-03-07 | 0 | 2002-09-09 |  |  | Within tolerance | 2015-63.61273 | 2015-03-10 | 1991-10-25
Q2TMM002 | DIGITAL THERMOMETER | FLUKE | 50S | 76330052 | 2015-03-31 | 2016-03-30 | 365 | ±5°C | CAL LAB | ACTIVE | CALIBRATION | 2 | 8553 | AAA | TEAM |  | N/A | 2002-09-12 | 0 | 2002-03-16 |  |  | within tolerance | 2015-313.54289 | 2015-03-31 | 2000-09-04
Q2TG002 | THICKNESS GAUGE | MITUTOYO | ID-110M | 502753 | 2016-02-08 | 2017-02-07 | 365 | ±.01MM | DIEBANK | ACTIVE | QA/IQC | 2 | 8553 | AAA |  |  | N/A | 2003-04-11 | 0 | 2003-04-11 |  |  | Gauge within tolerance; Glass needs replacement | 2016-82.63644 | 2016-02-08
Q2CR001 | CHART RECORDER | BLUE-M | AR11BLS105 | 3842-36504 | 2015-09-29 | 2016-03-15 | 182 | ±5°C | FA/TNH | ACTIVE | QA/FA | 2 | 8553 | AAA | TEAM |  | N/A | 2001-10-16 | 0 | 2001-04-19 |  |  | within tolerance | 2015-299.60483 | 2015-09-30 | 1993-09-01
Q2AM001 | MINI-ANEMOMETER | KURZ INST. | 490FM | LVE 59891 | 2014-11-06 | 2016-11-04 | 730 |  | CAL LAB | ACTIVE | CALIBRATION | 0 | MPC | AAA | TEAM | 02058 | N/A |  | 0 |  |  |  | Within manufacturer tolerance; | 2014-611.52383 | 2014-11-13
Q1VM001 | DIGITAL VOLTMETER | HP | 3456A | 2825A20262 | 2015-10-16 | 2016-10-14 | 365 | OEM | CAL LAB | ACTIVE | STANDARD | 8 | 8553 | ACA | TEAM | 01133 | N/A |  | 0 |  |  |  | within tolerance | 2015-1610.42415 | 2015-10-21 | 1988-09-02
Q2SCP001 | STATIC CHARGE PLATE | PRO-STAT | CPM-720A | 1085 | 2006-11-16 | 2008-05-15 | 546 |  | INCOMING | SERVICE | QA/IQC | 0 | PROST | AAA | TEAM | 01303 | N/A | 2003-04-18 | 0 | 2001-04-18 |  |  | Within tolerance; SERVICE ONLY | 2006-1611.47860 | 2008-05-16 | 2001-04-18
Q2SCS001 | STATIC CHARGING SOURCE | PROSTAT | PCS-730 | 1085 | 2006-11-16 | 2008-05-15 | 546 | N/A | IQC AREA | SERVICE | QA/IQC | 0 | PROST | AAA | TEAM | 01303 | N/A |  | 0 |  |  |  | Within tolerance; service only | 2006-1611.47928 | 2008-05-16 | 2001-04-18
Q2SDT001 | STATIC DECAY TIMER | PRO-STAT | PDT-740B | 39081 | 2015-11-05 | 2016-11-04 | 365 | ±2MV/ | IQC AREA | ACTIVE | QA/IQC | 2 | 8553 | AAA | TEAM | 01303 | N/A |  | 0 |  |  |  | Within tolerance | 2015-511.54233 | 2015-11-05 | 2001-04-18
Q2SFM001 | STATIC FIELD METER | PRO-STAT | PFM-711A | 1085 | 2015-04-28 | 2016-04-28 | 365 |  | CAL LAB | ACTIVE | QA/IQC | 0 | MPC | AAA | TEAM | 01303 | N/A |  | 0 |  |  |  | Within tolerance; Received as of 30 April 2015 | 2015-284.50837 | 2015-05-09 | 2001-04-18
Q1UC001 | UNIVERSAL COUNTER | HP | 5334A | 2426A02080 | 2014-06-10 | 2016-04-11 | 671 | TCS-5085 | CAL LAB | ACTIVE | STANDARD | 8 | 8553 | AAA | TEAM | 01135 | N/A |  | 0 | 2000-04-21 |  |  | Within tolerance | 2014-106.57071 | 2014-06-19 | 1986-01-09
Q2CP005 | DIAL CALIPER | MITUTOYO | 505-627-50 | 3929-51495 | 2015-08-28 | 2016-08-26 | 365 | ±0.001" | CALIB | ACTIVE | CALIBRATION | 2 | 8553 | AAA |  |  | N/A | 2005-06-17 | 0 | 2005-06-17 |  |  | within tolerance | 2015-288.41479 | 2015-08-28 | 2005-06-17
Q1DWG001 | DEAD WEIGHT TESTER | AMTHOR | 460 | 16009 | 2014-11-05 | 2019-11-04 | 1825 |  | CAL LAB | ACTIVE | STANDARD | 0 | MIRDC | *** | TEAM | 01177 | N/A |  | 0 | 1996-11-08 |  |  | Received: 18 September 2009 | 2014-511.62160 | 2014-11-19 | 1990-06-04
Q2PG001 | PIN GAGES | MEYER | M-0-011 | 3965-61470 | 2015-08-08 | 2016-08-08 | 365 | ±0.0002" | PDIP | ACTIVE | CALIBRATION | 4 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2015-88.58702 | 2015-08-08 | 1993-06-08
Q1AC001 | PIND ACCELEROMETER | PIND TESTER INC | 2220D | BP29 | 2015-12-04 | 2016-12-04 | 365 | ±5%REF | CAL LAB | ACTIVE | STANDARD | 0 | SDI | AAA | TEAM |  | N/A |  | 0 |  |  |  | For replacement of issued CAL certificate | 2015-412.49520 | 2015-12-18 | 1995-03-23
Q1SRS001 | PIND S140 SIMULATOR | PTI | 4501-S140 | E1115 | 2015-12-04 | 2016-12-04 | 365 | ±0.5 DB | CAL LAB | ACTIVE | STANDARD | 0 | SDI | AAA | TEAM |  | N/A |  | 0 |  |  |  | Report No. 12445; Attenuation @ 100 kHz = -59.8 dB | 2015-412.49710 | 2015-12-18 | 2003-01-17
Q1ACA001 | PIND ACCELEROMETER AMPLIFIER | PIND TESTER INC | 1501 | A009286 | 2015-12-04 | 2016-12-04 | 365 | 0.2PPM | CAL LAB | ACTIVE | STANDARD | 0 | SDI | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance; Report# 12445 | 2015-412.49673 | 2015-12-18 | 1991-11-27
Q1CC001 | PIND CALIBRATION CAPACITOR | PTI | 4501-CALCA | D1200 | 2015-12-04 | 2016-12-04 | 365 | ±10 PF | CAL LAB | ACTIVE | STANDARD | 0 | SDI | AAA | TEAM |  | N/A |  | 0 |  |  |  | Report No. 12715; Capacitance = 1002.4 pF | 2015-412.49742 | 2015-12-18 | 2002-07-17
Q1PSM002 | PSYCHRON METER | BELFORT | 566-2 | 87-4015 | 2015-01-21 | 2016-01-21 | 365 | ±0.45 °F | CAL LAB | IN-ACTIVE | STANDARD | 0 | MIRDC | **A | TEAM | 01006 | N/A |  | 0 |  |  |  | For calibration | 2015-211.32519 | 2016-01-25 | 1988-05-04
Q1TCC002 | THERMOCOUPLE CALIBRATOR | ALTEK | 322-1 | 162126 | 2015-08-29 | 2016-08-29 | 365 | ±2.5°C | CAL LAB | ACTIVE | STANDARD | 8 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-298.61048 | 2015-08-29 | 2005-08-11
Q4TMM001 | BULB THERMOMETER | N/A | -10-110°C | 4044-53074 | 2005-10-10 | 2005-10-10 | 0 | ±1.25°C | WETLAB/MPT | SERVICE | QA/PDIP | 2 | 6289 | *** | TEAM | 01006 | N/A |  | 0 |  |  |  | new/ verification only | 2005-1010.52984
Q3TM003 | TIMER | OMRON | H3CA-A | 23Z4 | 2016-02-01 | 2016-08-01 | 182 | ±5% | OVEN/WETLB | ACTIVE | QA/FA | 4 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2016-12.60791 | 2016-02-01 | 2005-04-11
Q1WT001 | TEST WEIGHTS [CLASS M1] | OHAUS | STAINLESS | 0098 | 2014-06-25 | 2016-06-24 | 730 | CLASS F1 | CAL LAB | ACTIVE | STANDARD | 0 | ITDI | *** | TEAM | 01544 | N/A |  | 0 |  |  |  | CAL Rep No. 06-2014-TSWT-0283; Umax ±0.500 mg | 2014-256.38369 | 2014-07-14
Q1WT002 | 10-1000G TEST WEIGHTS | OHAUS | 10-1000G | 0099 | 2014-06-25 | 2016-06-24 | 730 | CLASS M3 | CAL LAB | ACTIVE | STANDARD | 0 | ITDI | *** | TEAM | 01172 | N/A |  | 0 |  |  |  | Conforms to OIML Class M3 Weights [CAL Rep No. 06-2014-TSWT-0284] | 2014-256.38519 | 2014-07-14
Q1WT003 | TEST WEIGHTS | ANZA TECH | CAST IRON | 0095 | 2014-03-26 | 2016-03-25 | 730 | CLASS M3 | CAL LAB | ACTIVE | STANDARD | 0 | ITDI | *** | TEAM |  | N/A |  | 0 |  |  |  | MPE ±500 mg, [CAL Rep No. 04-2012-TSWT-0252] | 2014-263.33768 | 2014-03-31
Q1WT004 | RECTANGULAR 5KG TEST WEIGHT | B&G | 5KG | 6226-1 | 2014-03-26 | 2016-03-25 | 730 | ±2.5 GRAMS | CAL LAB | ACTIVE | STANDARD | 0 | ITDI | *** | TEAM | 01173 | N/A |  | 1 | 1999-01-25 |  |  | OIML Class M3 ±2.5g, [CAL Rep No. 04-2014-TSWT-0253] | 2014-263.31689 | 2014-03-31
Q1FG001 | FUNCTION GENERATOR | SRS, INC. | DS345 | 36661 | 2014-01-30 | 2018-01-29 | 1460 |  | CAL LAB | ACTIVE | STANDARD | 0 | MPC | *** | TEAM | 01316 | N/A |  | 0 |  |  |  | Within tolerance; Received on 11 February 2014 | 2014-301.46529 | 2014-02-11
Q2TM002 | GRALAB TIMER | DIMCO-GRAY | 545 | 009275 | 2014-02-13 | 2015-02-13 | 365 | ±0.15% | CAL LAB | SCRAP | CALIBRATION | 2 | 3803 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2014-132.52953 | 2015-02-16 | 2002-04-05
Q3JPM001 | PKG MISMATCH JIG | M.A.M. | JG-0006-IP | 4187-59036 | 2006-07-04 | 2006-08-03 | 30 | +0,-0.002" | QA/MOLD | DEFECTIVE | QA/PDIP | 1 | 6289 | *AA |  |  | N/A | 2006-03-02 | 0 | 2006-03-02 |  |  | out of tolerance | 2006-47.54253 | 2006-08-11
Q3JPM002 | PKG MISMATCH JIG | M.A.M | JG-0006-IP | 4187-59229 | 2006-05-02 | 2006-06-01 | 30 | +0,-0.002" | MOLD | DEFECTIVE | QA/PDIP | 1 | 6289 | *AA |  |  | N/A | 2006-03-02 | 0 | 2006-03-02 |  |  | out of tolerance | 2006-25.33032 | 2006-06-05
Q3TM004 | TIMER | OMRON | H5CX-A11S | 3827-51859 | 2015-10-16 | 2016-04-15 | 182 | ±5% | PCT | ACTIVE | QA/FA | 4 | 8553 | AAA |  |  | N/A | 2005-03-07 | 0 | 2005-03-07 |  |  | Within tolerance | 2015-1610.55998 | 2015-10-17 | 2006-03-15
Q3TC001 | TEMP CONT'L | OMRON | E5CS-R1KJX | 4201-63631 | 2015-10-16 | 2016-04-15 | 182 | ±5°C | FA/PCT | ACTIVE | QA/FA | 2 | 8553 | AAA |  |  | N/A | 2005-03-07 | 0 | 2005-03-07 |  |  | Within tolerance | 2015-1610.64988 | 2015-10-16 | 2006-03-22
Q4TMM002 | BULB THERMOMETER | WEISS INST | 0-150°C | 35BL3 | 2006-03-15 | 2006-03-15 | 0 | ±2°C | FA/PCT | SERVICE | QA/FA | 2 | 6289 | AAA | TEAM |  | N/A | 2001-12-20 | 0 | 2001-06-04 |  |  | Within tolerance/Service only | 2006-153.32582
Q4PRG001 | PRESSURE GAUGE | ENFM | 0-60PSI | 4201-63740 | 2006-03-15 | 2006-03-15 | 0 | ± 5PSI | FA/PCT | SERVICE | QA/FA | 2 | 6289 | AAA |  |  | N/A | 2005-03-07 | 0 | 2005-03-07 |  |  | WITHIN TOLERANCE | 2006-153.63802 | 2006-03-21
Q3TC002 | TEMP CONT'L | OMRON | E5CS-R1KJX | 15X9N | 2007-07-21 | 2007-07-21 | 0 | ±5°C | VO#.001/WE | SERVICE | QA/FA | 2 | 6289 | AAA | TEAM |  | N/A | 2002-01-26 | 0 | 2001-07-30 |  |  | within tolerance | 2007-217.54365 | 2007-07-21
Q3JPM003 | PKG MISMATCH JIG | M.A.M | JG-0065-IP | 4265-49730 | 2006-06-19 | 2006-07-19 | 30 | +0,-0.02MM | QA/MOLD | DEFECTIVE | QA/PDIP | 1 | 6289 | **A |  |  | N/A | 2006-05-19 | 0 | 2006-05-19 |  |  | out of tolerance | 2006-196.60695 | 2006-07-25
Q3JPM004 | PKG MISMATCH JIG (TO-268) | M.A.M | JG-0066-IP | 4320-61667 | 2007-05-08 | 2007-06-13 | 36 | +0,-0.025 | QA/MOLD | DEFECTIVE | QA/PDIP | 1 | 6289 | AAA |  |  | N/A | 2005-03-09 | 0 | 2005-03-09 |  |  | out of tolerance | 2007-85.46275 | 2007-05-09
Q3JPM005 | PKG MISMATCH JIG TO-247 | M.A.M | JG-0006-IP | 4328-63007 | 2006-09-22 | 2006-10-22 | 30 | +0,-0.002" | MOLD | DEFECTIVE | QA/PDIP | 2 | 6289 | AAA | TEAM |  | N/A |  | 0 |  |  |  | OUT OF tolerance | 2006-229.53229 | 2006-11-04
Q2PPS001 | PIND IMPACT SENSOR | PTI | S140C/A | C1287 | 2008-03-26 | 2009-03-26 | 365 | -77.5DB+3 | CAL LAB | DEFECTIVE | QA/MCAN | 0 | PTI | AAA | TEAM |  | N/A |  | 0 |  |  |  | verified by SDI as of 07 April 2010 | 2008-263.30918 | 2010-08-30 | 1987-01-23
Q2CP006 | CALIPER | MITUTOYO | CD-8"CS | 0039895 | 2015-03-05 | 2016-03-04 | 365 | ±0.001" | FA LAB | ACTIVE | CALIBRATION | 2 | 8553 | AAA | TEAM |  | N/A | 2003-04-14 | 0 | 2002-10-15 |  |  | within tolerance | 2015-53.54992 | 2015-03-06 | 2006-07-07
Q1MC001 | MULTI-CALIBRATOR | FLUKE | 5500A | 6900008 | 2013-08-20 | 2017-08-18 | 1460 |  | CAL LAB | ACTIVE | STANDARD | 0 | MPC | BCA | TEAM | 01132 | N/A |  | 0 |  |  |  |  | 2013-208.61586 | 2013-09-21
Q2MUM001 | DIGITAL MULTIMETER | ISO-TECH | IDM205RMS | 03600856 | 2015-08-13 | 2016-08-12 | 365 | OEM | CAL LAB | ACTIVE | CALIBRATION | 5 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Limited to VOLT Function only; Within tolerance | 2015-138.62182 | 2015-08-13 | 2003-05-28
Q3JPM006 | PKG MISMATCH JIG (TO264) | M.A.M | JG-0065-IP | 4369-51587 | 2007-01-08 | 2007-02-07 | 30 | +0,-0.02MM | QA/MOLD | DEFECTIVE | QA/PDIP | 2 | 6289 | AAA |  |  | N/A | 2004-06-28 | 0 | 2004-06-28 |  |  | defective | 2007-81.55714 | 2007-02-10
Q2STT001 | PIND STU TRANSDUCER | PTI | S140BM | A753 | 2005-08-19 | 2006-11-18 | 456 | -77.5DB+3 | CAL LAB | IN-ACTIVE | QA/MCAN | 0 | PTI | *** | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance; Refer to Report#9238 | 2005-198.50934 | 2007-01-04
Q2CP007 | CALIPER (INSIDE) | MITUTOYO | 209-653 | AB02F020 | 2015-09-05 | 2016-09-05 | 365 | ±0.03MM | CAL LAB | ACTIVE | CALIBRATION | 3 | 8553 | AAA |  |  | N/A | 2006-09-15 | 0 | 2006-09-15 |  |  | within tolerance | 2015-59.65753 | 2015-09-05
Q1GB002 | GAUGE BLOCK SET [METRIC] | MITUTOYO | 516-942-01 | 050546 | 2013-01-09 | 2016-02-08 | 1095 | GRADE 0 | CAL LAB | EXTENDED | STANDARD | 0 | MIRDC | *** | TEAM | 01199 | N/A |  | 0 |  |  |  | Received on 21 February 2013 | 2013-91.32619 | 2016-01-25
Q4TMM003 | GLASS THERMOMETER | N/A | 0-100°C | 4414-26319 | 2006-10-09 | 2006-10-09 | 0 | ±1.25°C | MPT | SERVICE | QA/PDIP | 4 | 6289 | *** |  |  | N/A | 2006-10-15 | 0 | 2006-10-15 |  |  | verification only | 2006-910.26331
Q3TI001 | TEMP INDICATOR | TABAI | TI-04 | 22A26159 | 2006-11-21 | 2007-11-21 | 365 | ±5°C | FA LAB | IN-ACTIVE | QA/FA | 2 | 6289 | *** | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2006-2111.59041 | 2007-11-21 | 2006-11-28
Q3TI002 | TEMP INDICATOR | TABAI | TI-02-20 | 22422159 | 2006-11-21 | 2007-11-21 | 365 | ±5°C | FA LAB | IN-ACTIVE | QA/FA | 2 | 6289 | *** | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2006-2111.59157 | 2007-11-21 | 2006-11-28
Q3TC003 | TEMP CONT'L | TABAI | -80-+100C | 312 | 2006-11-21 | 2007-11-21 | 365 | 5°C | FA LAB | IN-ACTIVE | QA/FA | 2 | 6289 | *** | TEAM |  | N/A |  | 0 | 1999-11-24 |  |  | within tolerance/ in-active | 2006-2111.59382 | 2007-11-21 | 2006-11-28
Q3TM005 | ANALOG TIMER | OMRON | NSY | 1264-A | 2006-11-21 | 2007-11-21 | 365 | 5SEC | FA LAB | IN-ACTIVE | QA/FA | 2 | 6289 | *** | TEAM |  | N/A |  | 0 | 1999-11-24 |  |  | within tolerance | 2006-2111.59513 | 2007-11-21 | 2006-11-28
Q3TM006 | ANALOG TIMER | OMRON | NSY | 1264-B | 2006-11-21 | 2007-11-21 | 365 | 5SEC | FA LAB | IN-ACTIVE | QA/FA | 2 | 6289 | *** | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2006-2111.59593 | 2007-11-21 | 2006-11-28
Q3TC004 | TEMP CONT'L | HONEYWELL | 0-200°C | 311 | 2006-11-21 | 2007-11-21 | 365 | ±5°C | FA | IN-ACTIVE | QA/FA | 2 | 6289 | *** | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2006-2111.59736 | 2007-11-21 | 2006-11-28
Q2CR002 | CHART RECORDER | CHINO | EH-100-06 | EH-40038 | 2006-11-21 | 2007-11-21 | 365 | ±5°C | FA | IN-ACTIVE | QA/FA | 2 | 6289 | *** | TEAM |  | N/A |  | 0 |  |  |  | in-active | 2006-2111.59880 | 2007-11-21 | 2006-11-28
Q2STT002 | PIND STU TRANSDUCER | PTI | S140BM | A202116 | 2014-11-10 | 2015-12-10 | 365 |  | CAL LAB | EXTENDED | QA/MCAN | 0 | PTI | *** | TEAM |  | N/A |  | 0 |  |  |  | Report No. 12445 | 2014-1011.47287 | 2015-11-11 | 2007-01-03
Q2GB001 | GAUGE BLOCK SET [ENGLISH] | HDT INT'L. | FED GR 2 | 80297 | 2015-03-12 | 2016-03-11 | 365 |  | CAL LAB | ACTIVE | CALIBRATION | 8 | 8553 | *** | TEAM | 01198 | N/A |  | 0 |  |  |  | Within tolerance | 2015-123.59863 | 2015-03-19 | 1983-03-14
Q2PPS002 | PIND IMPACT SENSOR | PTI | S140C/A | C3956 | 2014-11-10 | 2015-12-10 | 365 | -77.5DB+3 | Q2PIS001 | EXTENDED | QA/MCAN | 0 | SDI | *** | TEAM |  | N/A |  | 0 |  |  |  | Received on 18 Nov 2014 | 2014-1011.41777 | 2015-11-13
Q2PTS001 | PIND HEAVY DUTY SHAKER | PTI | M100 | 964A | 2008-10-08 | 2009-03-26 | 182 | TCS-5008 | Q2PIS001 | IN-ACTIVE | QA/MCAN | 16 | 3803 | *** | TEAM |  | N/A |  | 0 |  |  |  | Replaced with M230 as of 26 Mar 2009 | 2008-810.65899 | 2009-03-30
Q2STT003 | PIND STU TRANSDUCER | DUNEGAN | S140BM | A1117 | 2015-12-04 | 2016-12-04 | 365 |  | Q2ST001-CAL | ACTIVE | QA/MCAN | 0 | SDI | *** | TEAM |  | N/A |  | 0 |  |  |  | Report No.12715. | 2015-412.49875 | 2015-12-18
Q2CTS001 | COATING THICKNESS STANDARD | FISCHER | TIN-LEAD/B | 13097 | 2013-08-22 | 2022-08-19 | 3285 | ±5% | CAL LAB | ACTIVE | CALIBRATION | 0 | FISCH | *** | TEAM | 01164 | N/A |  | 0 |  |  |  | Within tolerance | 2013-228.53133 | 2013-08-23
Q2CTS002 | COATING THICKNESS STANDARD | FISCHER | AU/NI/KVR | 14006 | 2009-04-02 | 2018-03-30 | 3285 | ±5% | CAL LAB | ACTIVE | CALIBRATION | 0 | FISCH | *** | TEAM | 01165 | N/A |  | 0 |  |  |  | Within tolerance | 2009-24.42651 | 2013-03-13
Q1CRG001 | OXYGEN=200 PPM, N2=BALANCE | CIGI | 200 PPM | CYL# 55402 | 2007-03-21 | 2014-01-01 | 0 |  | CAL LAB | PR#42258 | STANDARD | 0 | CIGI | *** | TEAM | 01540 | N/A |  | 0 |  |  |  | Received:21 Feb 2007 at 1900 psig, as of 21 Mar 2012: 1500 psi | 2007-213.54870 | 2014-01-10
Q1GLS001 | GLASS SCALE (GRADE 0) | NIKON | 0-300 MM | 20071180 | 2015-09-25 | 2016-09-25 | 365 | ±0.0026 MM | CAL LAB | ACTIVE | STANDARD | 0 | MIRDC | *** |  |  | N/A | 2007-04-10 | 0 | 2007-04-10 |  |  | Receive on 15 October 2015. | 2015-259.46431 | 2015-10-15 | 1963-05-26
Q2CMM001 | COORDINATE MEASURING MACHINE | MITUTOYO | QVACE 250 | 2181105 | 2015-05-04 | 2016-05-03 | 365 |  | IQC AREA | ACTIVE | QA/IQC | 2 | 3803 | *** | TEAM | 01301 | YES | 2016-05-03 | 0.14 | 2015-05-04 | K.BASINANG | BASEPLATE DIME. | Within tolerance | 2015-45.52381 | 2015-05-05 | 2001-08-01
Q3TC006 | TEMP CONT'L | OMRON | E5CS-R1KJX | 4602-55835 | 2015-09-28 | 2016-03-15 | 182 | ±5°C | FA/TNH | ACTIVE | QA/FA | 2 | 8553 | AAA | TEAM |  | N/A | 2001-12-10 | 0 | 2001-06-13 |  |  | Within tolerance | 2015-289.65585 | 2015-09-28 | 2007-04-21
Q3TC007 | TEMP CONT'L | OMRON | E5CS-R1KJX | 4602-55912 | 2015-09-28 | 2016-03-15 | 182 | ±5°C | FA/TNH | ACTIVE | QA/FA | 2 | 8553 | AAA | TEAM |  | N/A | 2001-12-10 | 0 | 2001-06-13 |  |  | Within tolerance | 2015-289.65607 | 2015-09-28 | 2008-03-25
Q3JPM007 | PKG MISMATCH JIG (TO-264) | KEBA ENG'G | JG-0176-IP | 4608-44300 | 2015-07-07 | 2016-03-04 | 242 | +0,-0.001" | QA/MOLD | FOR REPAIR | QA/PDIP | 2 | 8553 | AAB |  |  | N/A | 2007-04-20 | 0 | 2007-04-20 |  |  | Out of tolerance | 2015-77.40621 | 2016-01-28 | 2007-04-20
Q3JL001 | LOOP HEIGHT JIG (TO-247) | RJZ | JG-0167-IP | 4632-43716 | 2015-06-01 | 2016-03-31 | 304 | ±0.002" | FOL/PDIP | ACTIVE | QA/PDIP | 1 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2015-16.55997 | 2015-06-01 | 2007-05-18
Q3CT001 | CURVE TRACER [OS TESTING] | TEKTRONIX | 577-D1 | B061198 | 2015-12-22 | 2016-06-20 | 182 | OEM | QA PDIP/FOL | ACTIVE | QA/PDIP | 12 | 8553 | AAA | TEAM | 00567 | N/A |  | 0 | 2000-12-02 |  |  | Within tolerance; Recommended for OS Test use only | 2015-2212.62677 | 2015-12-22 | 1992-01-28
Q3JL002 | LOOP HEIGHT JIG [SOT-227] | RJS | JG-0089-IP | 4669-60663 | 2014-11-27 | 2015-06-26 | 212 | ±0.003" | FOL/WBOND | FOR REPAIR | QA/PDIP | 1 | 8553 | AAB |  |  | N/A | 2007-06-27 | 0 | 2007-06-27 |  |  | OUT OF TOLERANCE | 2014-2711.64484 | 2015-03-18 | 2007-06-27
Q4TMM004 | GLASS THERMOMETER | N/A | CENTIGRADE |  | 2007-11-12 | 2007-11-12 | 0 | N/A | TINDIP | SERVICE | QA/PDIP | 2 | 3803 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Scale accuracy check only | 2007-1211.45572 |  | 2007-11-12
Q2MP002 | MICROPULL TESTER | UNITEK | 6-095-06 | 20016 | 2007-11-28 | 2007-11-28 | 0 | ±2% | CAL LAB | IN-ACTIVE | QA/MCAN | 3 | 3803 | *AC | TEAM | 01126 | N/A | 2003-07-07 | 0.76 | 2003-03-28 | C.VALEROS | WIREPULL | Back-up status | 2007-2811.38194 | 2012-09-19
Q2MP001 | MICROPULL TESTER | UNITEK | 6-095-06 | 70234 | 2015-09-03 | 2016-09-02 | 365 | ±2% | FOL/QA MCAN | ACTIVE | QA/MCAN | 3 | 8553 | AAA | TEAM | 01011 | YES | 2016-09-02 | 0.89 | 2015-09-04 | ABEGAIL GUZMAN | WIREPULL FORCE | within tolerance | 2015-39.67335 | 2015-09-04 | 1997-12-01
Q3JPM009 | PKG MISMATCH JIG | CHOLLO | JG-0175-IP | 4886-37458 | 2015-05-16 | 2016-03-15 | 304 | +0,-0.001" | MOLD | ACTIVE | QA/PDIP | 2 | 8553 | AAA |  |  | N/A | 2008-01-30 | 0 | 2008-01-30 |  |  | Within tolerance | 2015-165.44333 | 2015-05-18 | 2008-01-30
Q2TM003 | GRALAB TIMER | DIMCO GRAY COM. | 605 | 87070011 | 2016-02-12 | 2017-02-10 | 365 | ±0.2% | CAL LAB | ACTIVE | CALIBRATION | 2 | 8553 | AAA | TEAM | 01161 | N/A | 2000-09-29 | 0 | 1999-09-30 |  |  | within tolerance | 2016-122.55174 | 2016-02-15 | 2008-02-07
Q2PPS003 | PIND IMPACT SENSOR | PTI | S140C/A | C3965 | 2010-04-07 | 2011-04-07 | 365 | -77.5DB+3 | CAL LAB | IN-ACTIVE | QA/MCAN | 0 | PTI | **A | TEAM |  | N/A |  | 0 |  |  |  | Received: 26 April 2010. | 2010-74.41884 | 2015-11-13 | 1994-11-10
Q1PRG001 | PRESSURE GAUGE [GRADE 2A] | MARSH | 6957-12 | 20-198 | 2015-05-20 | 2016-05-19 | 365 | ±1 PSI | CAL LAB | ACTIVE | STANDARD | 3 | 8553 | AAA | TEAM | 01180 | N/A |  | 0 |  |  |  | within tolerance | 2015-205.46872 | 2015-05-20 | 1989-01-16
Q2PIS002 | PIND TEST CONTROLLER | PTI | 4501A | 9035B 820150 474 | 2009-04-05 | 2009-10-05 | 182 |  | CAL LAB | IN-ACTIVE | QA/MCAN | 16 | 3803 | *C* | TEAM | 00450 | N/A |  | 0 |  |  |  | For back-up use (new sensor: C4221) | 2009-54.37105 | 2009-04-06 | 1989-09-04
Q2PTS002 | PIND HEAVY DUTY SHAKER | PTI | M100 | 994A | 2008-06-05 | 2009-02-09 | 182 | TCS-5008 | Q2PIS002 | IN-ACTIVE | QA/MCAN | 16 | 3803 | *** | TEAM |  | N/A |  | 0 |  |  |  | Compensated with C3965 Impact Sensor | 2008-56.39185
Q2PTS003 | PIND HEAVY DUTY SHAKER | PTI | M230 | 3153B | 2015-11-11 | 2016-05-11 | 182 | TCS-5008 | Q2PIS001 | ACTIVE | QA/MCAN | 8 | 8553 | *** | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-1111.68041 | 2015-11-12
Q2PTS004 | PIND HEAVY DUTY SHAKER | PTI | M100 | 397 |  |  | 0 | TCS-5008 | CAL LAB | IN-ACTIVE | QA/MCAN | 16 | 3803 | *** | TEAM |  | N/A |  | 0 |  |  |  | Repaired by OEM on 18 Feb 2003 | 0-00.39553 | 2008-08-11
Q2PTS005 | PIND HEAVY DUTY SHAKER | PTI | M100 | 946PA |  |  | 0 | TCS-5008 | CAL LAB | DEFECTIVE | QA/MCAN | 16 | 3803 | *** | TEAM |  | N/A |  | 0 |  |  |  | For repair | 0-00.39641
Q2PTM002 | PIND OSCILLOSCOPE MONITOR | DUNEGAN CORP. | 118A | 4100295 | 2015-11-11 | 2016-05-11 | 182 | TCS-5008 | Q2PIS001 | ACTIVE | QA/MCAN | 8 | 8553 | *** | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-1111.68022 | 2015-11-12
Q3TC008 | TEMP CONT'L | OMRON | E5CS-R1KJX | 4942-55524 | 2015-09-28 | 2016-03-15 | 182 | ±5°C | FA/TNH-OTP | ACTIVE | QA/FA | 2 | 8553 | AAA |  |  | N/A | 2008-03-26 | 0 | 2008-03-26 |  |  | within tolerance | 2015-289.65625 | 2015-09-28 | 2008-03-26
Q2CP008 | DIGITAL CALIPER | ANYI | 110-051 | DH22006 | 2016-02-16 | 2017-02-15 | 365 | ±0.001" | IQC AREA | ACTIVE | QA/IQC | 2 | 8553 | AAA |  |  | YES | 2016-02-16 | 0.1 | 2015-02-16 | CARLA MENDOZA | DIMENSION | within tolerance | 2016-162.46220 | 2016-02-16 | 2001-10-27
Q1WT005 | POUND TEST WEIGHTS | UBTI | 1/10/20LBS | 0098 | 2008-11-27 | 2010-11-26 | 730 |  | CAL LAB | PR#33199 | STANDARD | 0 | ITDI | *** | TEAM | 01171 | N/A |  | 0 |  |  |  | received as of 17 Dec 2008, CAL Cert. 11-2008-tswt-1728 | 2008-2711.42074 | 2010-11-26
Q3TM007 | TIMER | OMRON | H3CA-A | 4601-52635 | 2015-09-16 | 2016-03-15 | 182 | ±10% | SP-QA/EOL | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-169.58179 | 2015-09-16 | 2008-11-10
Q1WT006 | CYLINDRICAL 5KG TEST WEIGHT | N/A | 5KG | 8767 | 2008-11-27 | 2010-11-26 | 730 | CLASS M3 | CAL LAB | PR#33199 | STANDARD | 0 | ITDI | *** | TEAM |  | N/A |  | 0 |  |  |  | CAL Cert. 10-2007-tswt-1320 (at Q1WT005 file) | 2008-2711.38064 | 2010-11-26
Q4HDM001 | HYDROMETER | KESTER | 800-900 | 5268-58353 | 2009-02-15 | 2009-02-15 | 0 | ±.02 | EOL/SDIP | SERVICE | QA/PDIP | 2 | 6289 | *** |  |  | N/A | 2009-02-15 | 0 | 2009-02-15 |  |  | verification only | 2009-152.58212 |  | 2009-02-15
Q2PPS004 | PIND IMPACT SENSOR | PTI | S140C/AL | C3926 | 2015-12-04 | 2016-12-04 | 365 | -77.5DB+3 | Q2PIS001 | ACTIVE | QA/MCAN | 0 | SDI | *** | TEAM |  | N/A |  | 0 |  |  |  | Report No.12715. | 2015-412.49972 | 2015-12-18 | 1994-08-17
Q2PPS005 | PIND IMPACT SENSOR | PTI | S140C/A | C4221 | 2010-10-19 | 2011-10-19 | 365 | -77.5DB+3 | CAL LAB | DEFECTIVE | QA/MCAN | 0 | SDI | *** | TEAM |  | N/A |  | 0 |  |  |  | Hole in flex circuit | 2010-1910.47194 | 2011-11-24 | 1997-06-17
Q4IPC001 | ICE-POINT REFERENCE CELL | OMEGA | TRC III | 41206 | 1998-03-28 | 1998-09-24 | 180 |  | CAL LAB | SERVICE | CALIBRATION | 0 | OMEGA | *** | TEAM | 01155 | N/A |  | 0 |  |  |  | Please enter current performance
Q2VG001 | VACUUM GAUGE | ASHCROFT | 0-30"HG | 5606-39905 | 2015-10-20 | 2016-08-19 | 304 | ±0.5 "HG | CAL LAB | ACTIVE | CALIBRATION | 1 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance; Activated for REFERENCE STANDARD back-up | 2015-2010.45998 | 2015-10-20 | 2010-01-19
Q3SW002 | STOP WATCH | CASIO | H6-6 | 5749-52444 | 2012-01-10 | 2012-09-18 | 252 | ±0.5% | EOL/4TH-OP | IN-ACTIVE | QA/PDIP | 2 | 8072 | AAA | TEAM | 01133 | N/A |  | 0 |  |  |  | within tolerance | 2012-101.33509 | 2012-09-20 | 1988-09-02
Q2CT001 | CURVE TRACER | TEKTRONIX | 576 | B294165 | 2015-10-29 | 2016-04-28 | 182 | OEM | FA LAB | ACTIVE | QA/FA | 12 | 8553 | AAC |  |  | N/A | 2004-10-05 | 0 | 2004-10-05 |  |  | Full calibration upon receive on 28 Oct 2015. | 2015-2910.43593 | 2015-10-29 | 2010-09-09
Q2CP009 | DIGITAL CALIPER | LINEAR | N/A | 66841717 | 2015-11-11 | 2016-11-10 | 365 | ±0.001" | ASPM | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM |  | YES | 2016-11-10 | 2.82 | 2015-11-11 | JAN VIDA ALBA | DIMENSION | Within tolerance | 2015-1111.56117 | 2015-11-11 | 2010-09-22
Q2CP010 | DIGITAL CALIPER | LINEAR |  | 66841727 | 2015-06-11 | 2016-06-10 | 365 | ±0.001" | PDIP EOL | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM |  | YES | 2016-06-10 | 0.7 | 2015-06-11 | GLADYS IBARIENT | DIMENSIONAL | Within tolerance | 2015-116.64526 | 2015-06-11 | 2010-09-22
Q2DG001 | THICKNESS GAUGE | MITUTOYO | 2416F | 003 | 2016-01-20 | 2016-12-12 | 334 | ±0.002" | HEOL | ACTIVE | QA/MCAN | 2 | 8553 | AAA | TEAM |  | N/A | 1999-09-08 | 0 | 1999-09-08 |  |  | Limited use 0.5" maximum; Within tolerance | 2016-201.66283 | 2016-01-25
Q3GS001 | GROUND STRAP CHECKER | HAKKO | 498 | 4980003667 | 2015-05-04 | 2016-05-03 | 365 | OEM | SMOCK RM | ACTIVE | QA/PDIP | 1 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-45.62280 | 2015-05-04 | 2011-02-04
Q2XRF002 | X-RAY FLUORESCENCE | FISCHER | XDLM-237 | 100004411 | 2015-09-14 | 2016-06-13 | 273 | OEM | IQC AREA | ACTIVE | QA/IQC | 0 | 8553 | **A | TEAM | 01548 | N/A | 2011-01-25 | 7.21 | 2010-04-27 | G.IBBARIENTOS | COATING THICKNE | Replaced 2KV board as of 13 May 2014; Within tolerance | 2015-149.49415 | 2015-09-16 | 2011-02-23
Q2PPS006 | IMPACT SENSOR [NS] | PTI | S140C/A | C4687 | 2015-12-04 | 2016-12-04 | 365 | ±OEM | Q2PIS001 | ACTIVE | QA/MCAN | 0 | SDI | *** | TEAM |  | N/A |  | 0 |  |  |  | For calibration as of 23 May 2012 | 2015-412.49609 | 2015-12-18 | 2011-06-15
Q2PCM002 | PARTICLE COUNTER | MET ONE | GT-321 | M4658 | 2015-10-12 | 2016-10-12 | 365 | N/A | CAL LAB | ACTIVE | CALIBRATION | 0 | MPC | *** | TEAM | 01572 | N/A | 2004-01-23 | 0 | 2004-01-23 |  |  | Refer to Certificate No. 222008122696321 | 2015-1210.38628 | 2015-10-19 | 2011-06-15
Q2PPS007 | IMPACT SENSOR [NS] | PTI | S140C/A | C5024 | 2011-11-10 | 2012-11-10 | 365 |  | CAL-RESERVE | PR# | QA/MCAN | 0 | SDI | **A | TEAM |  | N/A | 2001-12-03 | 0 | 2001-06-06 |  |  | within tolerance | 2011-1011.51840 | 2012-11-12 | 2011-11-10
Q4PRG002 | PRESSURE GAUGE | WIKA | 0-60PSI | 6377-53669 | 2012-02-12 | 2012-02-12 | 0 | ±1.2PSI | FA LAB | SERVICE | QA/FA | 2 | 3803 | *** |  |  | N/A | 2003-11-26 | 0 | 2003-11-26 |  |  | Within Tolerance | 2012-122.53676 |  | 2012-02-29
Q2TMM003 | DIGITAL THERMOMETER | OMEGA | HH509R | 12000447 | 2015-10-12 | 2016-09-09 | 334 | ±(1%+1°C) | MOLD | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM | 01870 | YES | 2016-09-09 | 2.44 | 2015-10-13 | REMZHEL MATIAS | MOLD TEMP | within tolerance | 2015-1210.44782 | 2015-10-12 | 2012-07-18
Q2TMM004 | DIGITAL THERMOMETER | OMEGA | HH509R | 12000426 | 2015-07-29 | 2016-05-27 | 304 | ±(1%+1°C) | SOLDER DIP | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM | 01871 | YES | 2016-05-27 | 2.51 | 2015-07-29 | ERICA MAGLIAN | TEMPERATURE | within tolerance | 2015-297.49633 | 2015-07-29 | 2012-07-18
Q3TP001 | THERMOCOUPLE PROBE | OMEGA | 88101K | 6518-62340 | 2014-10-13 | 2015-07-13 | 273 | ±1.25°C | MOLD | DEFECTIVE | QA/PDIP | 1 | 8553 | AAA |  |  | N/A | 2012-07-19 | 0 | 2012-07-19 |  |  | Waiting for the availability of probe element at stores. | 2014-1310.44496 | 2015-07-27 | 2012-07-19
Q3TP002 | THERMOCOUPLE PROBE | TPC-CAL | TYPE K | 6519-48463 | 2015-07-13 | 2016-05-12 | 304 | ±1.25°C | TINDIP | ACTIVE | QA/MCAN | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | within tolerance | 2015-137.45624 | 2015-07-13 | 2012-07-20
Q3SW003 | STOP WATCH | CASIO | HS-3(V) | 104Q07R | 2015-07-16 | 2016-05-16 | 304 | ±1%READING | SOLDER DIP | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM | 01161 | N/A | 2000-09-29 | 0 | 1999-09-30 |  |  | within tolerance | 2015-167.48731 | 2015-07-16 | 2012-07-20
Q2CTS003 | COATING THICKNESS STANDARD | FISCHER | SN/NI/CU | ADCSK | 2010-10-27 | 2019-10-25 | 3285 | ±5% | CAL LAB | ACTIVE | CALIBRATION | 0 | FISCH | *** | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2010-2710.34954 | 2013-03-25 | 2012-08-06
Q4HT001 | TEMP / RH MONITOR | TAYLOR | HUMIDIGUID | 6579-35370 | 2012-09-18 | 2012-09-18 | 0 | N/A | CAL LAB | SERVICE | CALIBRATION | 3 | 3803 | *** | TEAM | 01170 | N/A |  | 0 |  |  |  | Activated: 18 Sep 2012 for DRY box monitoring | 2012-189.35341 |  | 2012-09-18
Q3JL003 | LOOP HEIGHT JIG | RJZ | JG-0005-IP | 6607-38867 | 2015-11-03 | 2016-04-18 | 166 | ±.002" | PDIP/FOL | ACTIVE | QA/PDIP | 1 | 8553 | AAA |  |  | N/A | 2012-10-16 | 0 | 2012-10-16 |  |  | Within Tolerance | 2015-311.34627 | 2015-11-03 | 2012-10-16
Q3VG001 | VACUUM GAUGE | N/A | 0-30 "HG | 3902-32150 | 2012-12-21 | 2013-06-21 | 182 | ±1.5 "HG | CAL LAB | IN-ACTIVE | CALIBRATION | 2 | 3803 | **A |  |  | N/A | 2005-11-05 | 0 | 2005-11-05 |  |  | Within ±5% of FS | 2012-2112.36098 | 2013-06-25
Q2CP011 | DIGITAL CALIPER | MITUTOYO | CD-6"CS | 12687150 | 2015-10-31 | 2016-08-30 | 304 | ±0.001" | QA/MOLD | ACTIVE | QA/PDIP | 2 | 8553 | AAA |  |  | YES | 2016-08-30 | 0.96 | 2015-11-04 | REMZHEL MATIAS | LENGTH | Within tolerance | 2015-3110.43925 | 2015-11-02 | 2013-05-06
Q4SR001 | STAINLESS RULER | GEI | 2020A | C4576 | 2013-03-27 | 2013-03-27 | 0 |  | IQC AREA | SERVICE | QA/IQC | 4 | 3803 | *** | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2013-273.56528 |  | 2013-06-12
Q1VG004 | VACUUM GAUGE [DIGITAL] | ASHCROFT | 2074 | 212190001 | 2015-10-12 | 2016-10-12 | 365 | ±0.25% FS | CAL LAB | ACTIVE | STANDARD | 0 | MPC3 | *** |  |  | N/A | 2012-11-06 | 0 | 2012-11-06 |  |  | Within tolerance; Received, 12 September 2014 | 2015-1210.38804 | 2015-10-19 | 2013-06-17
Q2VG002 | VACUUM GAUGE | ASHCROFT | 30 INHG | 4193-43700 | 2016-01-27 | 2016-10-26 | 273 | ±.5 PSI | CAL LAB | ACTIVE | CALIBRATION | 2 | 8553 | AAA |  |  | N/A | 2006-03-08 | 0 | 2006-03-08 |  |  | within tolerance | 2016-271.57953 | 2016-01-27 | 2006-02-27
Q2CP012 | DIGITAL CALIPER | MITUTOYO | CD-6"CSX | 13079120 | 2015-08-07 | 2016-04-05 | 242 | ±0.0010 " | IQC AREA | ACTIVE | QA/IQC | 2 | 8553 | AAA |  |  | YES | 2016-04-05 | 0.0069 | 2015-08-07 | KHALI BASINANG | DIMENSION | within tolerance | 2015-78.53969 | 2015-08-07 | 2013-07-09
Q2TP001 | THERMOCOUPLE PROBE (REFERENCE) | TPC | TYPE K | 6582-50333 | 2015-09-21 | 2016-09-20 | 365 | ±0.5°C | CAL LAB | ACTIVE | CALIBRATION | 2 | 8553 | AAA |  |  | N/A |  | 0 |  |  |  | Measurement Uncertainty at ±0.182805457 degrees Celsuis | 2015-219.63987 | 2015-09-24 | 2012-09-21
Q3ION001 | AIR IONIZER | SIMCO | AEROSTATXC | 122840026123214 | 2015-11-14 | 2016-05-13 | 182 | TCS-5073 | DIE BANK | ACTIVE | QA/IQC | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-1411.63102 | 2015-11-14 | 2013-10-31
Q3ION002 | AIR IONIZER | SIMCO ION | AEROSTATXC | 122840023123211 | 2015-11-14 | 2016-05-13 | 182 | TCS-5073 | DIE BANK | ACTIVE | QA/IQC | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2015-1411.63211 | 2015-11-14 | 2013-10-31
Q4TMM005 | GLASS THERMOMETER | N/A | N/A | 7218-34220 | 2014-06-19 | 2014-06-19 | 0 | ±1.25°C | TINDIP | SERVICE | STANDARD | 2 | 3803 | *** | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2014-196.34204 |  | 2014-06-19
Q4HDM002 | HYDROMETER |  |  | 7252-42000 | 2014-07-23 | 2015-01-21 | 182 | ± °C | EOL | SERVICE | QA/PDIP | 1 | 8553 | **A |  |  | N/A | 2004-01-21 | 0 | 2004-01-21 |  |  | Within tolerance | 2014-237.41978 |  | 2014-07-23
Q3JGC001 | CONNECTOR GAGE JIG [ASPM] | N/A | MK0352 | MJ640A.ED03 | 2015-11-27 | 2016-02-22 | 86 | MSC DRAWNG | QA IQC/ASPM | ACTIVE | QA/IQC | 1 | 8553 | AAA |  |  | N/A | 2014-09-22 | 0 | 2014-09-22 |  |  | within tolerance | 2015-2711.58338 | 2015-11-27 | 2014-09-22
Q2PRG001 | PRESSURE GAUGE | WIKA | 232.34 4.5 | 7376-36302 | 2015-12-02 | 2016-08-01 | 242 | ±20 PSI | CAL LAB | ACTIVE | STANDARD | 2 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within Tolerance | 2015-212.56674 | 2015-12-02 | 2014-11-24
Q3GS002 | GROUND STRAP CHECKER | BOTECH | MT-100 | 099003 | 2015-02-13 | 2015-08-14 | 182 |  | CAL LAB | IN-ACTIVE | CALIBRATION | 2 | 3803 | *** | TEAM |  | N/A |  | 0 | 2000-12-20 |  |  | Adjusted to required specification | 2015-132.52091 |  | 2015-02-13
Q3TC009 | TEMP CONTROLLER | OMRON | E5CN-R2MT | 7462-42175 | 2015-10-16 | 2016-04-15 | 182 | ±5°C | PCT/FA | ACTIVE | QA/FA | 1 | 8553 | *AA |  |  | N/A | 2015-02-18 | 0 | 2015-02-18 |  |  | within tolerance | 2015-1610.65194 | 2015-10-16 | 2015-02-18
Q3JL004 | LOOP HEIGHT JIG [TO-220] | PEREZONIC | JG-0004-IP | 7495-62795 | 2015-03-23 | 2015-04-17 | 30 | ±0.002" | FOL/PDIP | FOR REPAIR | QA/PDIP | 2 | 8553 | **B | TEAM |  | N/A | 2002-09-02 | 0 | 2002-03-06 |  |  | Out of tolerance;Replaced by vendor,still in CAL LAB after RTV. | 2015-233.45523 | 2015-10-14 | 2015-03-26
Q3JPM010 | PACKAGE MISMATCH JIG [TO-268] | PEREZONIC | JG-0066-IP | 7495-62796 | 2016-02-08 | 2016-04-27 | 79 | ±0.025MM | MOLD | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM |  | N/A | 2002-09-02 | 0 | 2002-03-06 |  |  | within tolerance | 2016-82.46680 | 2016-02-08 | 2015-03-26
Q3JP001 | PLANARITY JIG [TO-268] | PEREZONIC | JG-0102-IP | 7495-62797 | 2015-03-23 | 2015-04-17 | 30 | ±0.002" | 4TH OPT | FOR REPAIR | QA/PDIP | 2 | 8553 | **B | TEAM |  | N/A | 2002-09-02 | 0 | 2002-03-06 |  |  | Out of tolerance;Return to vendor. | 2015-233.60478 | 2015-09-28 | 2015-03-26
Q2FOG002 | DIGITAL FORCE GAUGE | CHATILLON | DFE2-010 | T20893 | 2015-10-17 | 2016-04-15 | 182 | ±0.013KG | FOL/PDIP-QA | ACTIVE | QA/PDIP | 2 | 8553 | **A | TEAM |  | YES | 2016-04-15 | 0.06 | 2015-10-17 | R.SEMENIANO | WIREPULL STRENG | For CPK evaluation | 2015-1710.64764 | 2015-10-17 | 2015-03-23
Q3JL005 | SMPD LOOP HEIGHT JIG (80 MIL) | N/A | JG-213-IP | 7527-39292 | 2016-01-16 | 2016-03-25 | 70 | ±79±5 MILS | PDIP/FOL | ACTIVE | QA/PDIP | 1 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance | 2016-161.58016 | 2016-01-16 | 2015-04-28
Q3JL006 | LOOP HEIGHT JIG (SOT-227) | TPC | JG-0089-IP | 3689-45033 | 2015-05-09 | 2016-05-09 | 365 | ±0.003" | FOL | ACTIVE | QA/PDIP | 2 | 8553 | AAA | TEAM |  | N/A | 2004-07-19 | 0.28 | 2004-06-04 | SHIELA RAMIREZ | FORCE | within tolerance | 2015-95.59268 | 2015-05-09 | 2004-10-19
Q4HDM003 | HYDROMETER (LIGHT) | N/A | 0.7 TO 1.0 | 7558-35154 | 2015-05-25 | 2015-05-25 | 0 | ±0.1 BAUME | SOLDER DIP | SERVICE | QA/MCAN | 1 | 3803 | *** |  |  | N/A | 2015-05-25 | 0 | 2015-05-25 |  |  | Within tolerance | 2015-255.35076 |  | 2015-05-25
Q4HDM004 | HYDROMETER (HEAVY) | N/A | 1.0 TO 2.0 | 7558-35155 | 2015-05-25 | 2015-05-25 | 0 | ±0.1 BAUME | SOLDER DIP | SERVICE | QA/MCAN | 1 | 3803 | *** |  |  | N/A | 2015-05-25 | 0 | 2015-05-25 |  |  | Within tolerance | 2015-255.35234 |  | 2015-05-25
Q4HDM005 | HYDROMETER (LIGHT) | N/A | 0.7 TO 1.0 | 7558-35156 | 2015-05-25 | 2015-05-25 | 0 | ±0.1 BAUME | SOLDER DIP | SERVICE | QA/MCAN | 1 | 3803 | *** |  |  | N/A | 2015-05-25 | 0 | 2015-05-25 |  |  | Within tolerance | 2015-255.35359 |  | 2015-05-25
Q4HDM006 | HYDROMETER (HEAVY) | N/A | 1.0 TO 2.0 | 7558-35157 | 2015-05-25 | 2015-05-25 | 0 | ±0.1 BAUME | SOLDER DIP | SERVICE | QA/MCAN | 1 | 3803 | *** |  |  | N/A | 2015-05-25 | 0 | 2015-05-25 |  |  | Within tolerance | 2015-255.35439 |  | 2015-05-25
Q3JL007 | LOOP HEIGHT JIG (DEI) | RJZ | JG-0071-IP | 7587-44502 | 2016-01-15 | 2016-03-21 | 65 | ±0.005" | FOL/QA | ACTIVE | QA/PDIP | 1 | 8553 | AAA | TEAM |  | N/A | 2004-07-19 | 0.28 | 2004-06-04 | SHIELA RAMIREZ | FORCE | within tolerance | 2016-151.58699 | 2016-01-15 | 2015-07-09
Q3JL009 | LOOP HEIGHT JIG(TO-220) | PEREZONIC | JG-0004-IP | 7653-59651 | 2016-01-15 | 2016-03-14 | 58 | ±0.002 " | FOL/QA PLASTIC | ACTIVE | QA/PDIP | 1 | 8553 | AAA | TEAM |  | N/A | 2004-12-08 | 0 | 2004-12-08 |  |  | Within tolerance. | 2016-151.50776 | 2016-01-15 | 2015-08-28
Q3JPM011 | PACKAGE MISMATCH JIG (I4PAK) | PEREZONIC | JG-0229-IP | 7668-46732 | 2016-02-08 | 2016-04-06 | 58 | ±0.25 MM | MOLD | ACTIVE | QA/PDIP | 1 | 8553 | AAA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance. | 2016-82.65415 | 2016-02-08 | 2015-09-12
Q3JP002 | PLANARITY JIG (SMPD) | PEREZONIC | JG-0224-IP | 7668-46940 | 2015-11-05 | 2015-12-11 | 37 | JG-0224-IP | QA-PEOL | FOR REPAIR | QA/PDIP | 2 | 8553 | *AA | TEAM |  | N/A |  | 0 |  |  |  | Within tolerance but fail in functional test. | 2015-511.62094 | 2015-12-15 | 2015-09-12
Q3JP003 | PLANARITY JIG(TO-268) | PEREZONIC | JG-0069-IP | 7671-62329 | 2016-01-08 | 2016-02-29 | 51 | ±0.002" | 4TH OPT | ACTIVE | QA/PDIP | 2 | 8553 | AAA |  |  | N/A | 2015-09-15 | 0 | 2015-09-15 |  |  | Within tolerance.Change drawing no. from JG-0102-IP to JG-0069-IP. | 2016-81.64772 | 2016-01-11 | 2015-09-15
Q2DG002 | DIAL INDICATOR | MITUTOYO | 2046F | 7691-61863 | 2016-02-06 | 2016-09-05 | 212 | ±0.01 MM | CAL LAB. | ACTIVE | CALIBRATION | 2 | 8553 | *AA | TEAM |  | N/A | 2014-05-02 | 0 | 2014-05-02 |  |  | Within tolerance | 2016-62.66053 | 2016-02-08 | 2015-10-05
Q1WT007 | RECTANGULAR TEST WEIGHT(20KG) | FUJI | CLASS M1 | 10007700 | 2015-08-27 | 2016-08-26 | 365 | ±120MG | CAL LAB | ACTIVE | STANDARD | 0 | FPSI | *** |  |  | N/A | 2003-07-12 | 0 | 2003-07-12 |  |  | Refer to RTS No.WP15-0339 | 2015-278.56483 |  | 2015-10-30
Q3SW004 | STOP WATCH | SPALDING | N/A | 7740-57005 | 2015-11-25 | 2016-05-25 | 182 | ±5% | QA MOLD | ACTIVE | QA/PDIP | 2 | 8553 | **A |  |  | N/A |  | 0 |  |  |  | Within tolerance. | 2015-2511.39494 | 2015-11-24 | 2015-11-23